## Summary
Sample # | Tissue | Brain | Slide # | Array # | Ct | cDNA Amp Cycle | Agilent [cDNA] pg/ul | Dilution Factor | Final [cDNA] pg/ul | Total cDNA ng yield | cDNA Input | SI cycles | Ave frag length | Agilent [lib] pg/ul | Dilution Factor | Final [lib] pg/ul | index_name | index(i7) | index2_workflow_a(i5) | index2_workflow_b(i5) | % Coverage Array | Est Read Pairs
HYP_1v_hrd | HYP | Hs_Br6197 | V12N28-334 | A1 | 15.91 | 16 | 1950.02 | 9 | 17550.18 | 702.0072 | 175.5018 | 15 | 443 | 3119.47 | 5 | 15597.35 | SI-TT-G9 | CCGGAGGAAG | TGCGGATGTT | AACATCCGCA | 85 | 255000000
1v_LC_re_HRD | LC | Hs_Br1105 | V13F27-339 | A1 | 18.37 | 18 | 3703.63 | 2 | 7407.26 | 296.2904 | 74.0726 | 17 | 405 | 3511.4 | 5 | 17557 | SI-TT-A1 | GTAACATGCG | AGTGTTACCT | AGGTAACACT | 80 | 240000000
2v_LC_re_HRD | LC | Hs_Br5529 | V13F27-339 | B1 | 17.31 | 17 | 3001.82 | 2 | 6003.64 | 240.1456 | 60.0364 | 17 | 407 | 2941.72 | 7 | 20592.04 | SI-TT-B1 | ACAGTAACTA | ACAGTTCGTT | AACGAACTGT | 65 | 195000000
3v_LC_re_HRD | LC | Hs_Br1706 | V13F27-339 | C1 | 17.02 | 17 | 3259.23 | 2 | 6518.46 | 260.7384 | 65.1846 | 17 | 405 | 3785.21 | 8 | 30281.68 | SI-TT-C1 | TGCGCGGTTT | CAAGGATAAA | TTTATCCTTG | 75 | 225000000
4v_LC_re_HRD | LC | Hs_Br6297 | V13F27-339 | D1 | 17.07 | 17 | 2590.25 | 2 | 5180.5 | 207.22 | 51.805 | 17 | 384 | 2991.54 | 5 | 14957.7 | SI-TT-D1 | TGCAATGTTC | GCTTGTCGAA | TTCGACAAGC | 75 | 225000000
| 1v_LC_re_HRD |  |  |  | 2v_LC_re_HRD |  |  |  | 3v_LC_re_HRD |  |  |  | 4v_LC_re_HRD

## qPCR
Pos | Name | Ct FAM | Note
A1 | 1v_LC_re_HRD | 18.37 | ~33% of the peak fluorescence value
B1 | 2v_LC_re_HRD | 17.31 | ~33% of the peak fluorescence value
C1 | 3v_LC_re_HRD | 17.02 | ~33% of the peak fluorescence value
D1 | 4v_LC_re_HRD | 17.07 | ~33% of the peak fluorescence value
E1 | negative control | N/A

## cDNA Agilent
Sample # | Tissue | Brain | Slide # | Array # | Ct | cDNA Amp Cycle | Agilent [cDNA] pg/ul | Dilution Factor | Final [cDNA] pg/ul | Total cDNA ng yield
HYP_1v_hrd | HYP | Hs_Br6197 | V12N28-334 | A1 | 15.91 | 16 | 1950.02 | 9 | 17550.18 | 702.0072
1v_LC_re_HRD | LC | Hs_Br1105 | V13F27-339 | A1 | 18.37 | 18 | 3703.63 | 2 | 7407.26 | 296.2904
2v_LC_re_HRD | LC | Hs_Br5529 | V13F27-339 | B1 | 17.31 | 17 | 3001.82 | 2 | 6003.64 | 240.1456
3v_LC_re_HRD | LC | Hs_Br1706 | V13F27-339 | C1 | 17.02 | 17 | 3259.23 | 2 | 6518.46 | 260.7384
4v_LC_re_HRD | LC | Hs_Br6297 | V13F27-339 | D1 | 17.07 | 17 | 2590.25 | 2 | 5180.5 | 207.22

## Lib Agilent
1v_LC_re_HRD | #1 1:5 dilution
2v_LC_re_HRD | #2 1:7 dilution
3v_LC_re_HRD | #3 1:8 dilution
4v_LC_re_HRD | #4 1:5 dilution

## MiSeq
Sample # | Ave frag length | Final [lib] pg/ul | nM concentration (([conc library pg/ul]/(660*frag size))*1000) | 10nM*10ul/(conc nM) | H2O | Qubit values fir 10nM dilutions
1v_LC_re_HRD | 405 | 17557 | 65.6828 | 1.5225 | 8.4775 | 5.24
2v_LC_re_HRD | 407 | 20592.04 | 76.6586 | 1.3045 | 8.6955 | 4.48
3v_LC_re_HRD | 405 | 30281.68 | 113.2872 | 0.88271 | 9.1173 | 4.54
4v_LC_re_HRD | 384 | 14957.7 | 59.0187 | 1.6944 | 8.3056 | 4.56